SELF INSPECTION CHECKLIST

INSPECTED BY:	_______________________  DATE:   ______________

| SAFETY PROGRAM | YES | NO |
| --- | --- | --- |
| A. Is an active safety program in operation which identifies and corrects hazards? |  |  |
| B. Is there a designated safety program administrator? If so, note Name, Job Title and time devoted to safety. |  |  |
| C. Do Department Heads meet monthly and develop action steps to identify safety opportunities. (Note: Review minutes to establish a base on activity.) |  |  |
| D. Are employee safety meetings and training sessions held on a monthly basis? |  |  |
| E. Are written safety inspections completed on a monthly basis (Note: Send copy of last inspection and review to assess completeness). |  |  |
| F. Do accident investigations develop action steps to reduce similar exposures? |  |  |
| EMPLOYEE TRAINING | YES | NO |
| A. New employee basic safety orientation |  |  |
| B. New employees trained in the safe working practices of their jobs. |  |  |
| FIRST AID AND MEDICAL SERVICES | YES | NO |
| A. Adequate materials and equipment available? |  |  |
| B. Trained first aid personnel with annual certification/recertification. |  |  |
| POTENTIALLY HAZARDOUS CHEMICALS | YES | NO |
| A. MSDS available for all chemicals or federally listed hazardous materials? |  |  |
| B. Written hazard communication program prepared and available? |  |  |
| C. Employees trained in proper handling of each chemical? |  |  |
| PERSONAL PROTECTIVE EQUIPMENT | YES | NO |
| A. Hazard assessment for each job performed |  |  |
| B. Personal Protective Equipment provided |  |  |
| EMPLOYEE WORK PRACTICES | YES | NO |
| A. No baggy clothing, flyaway hair, or dangling jewelry |  |  |
| B. Sturdy shoes suitable for the work environment |  |  |
| HOISTING AND LIFTING EQUIPMENT | YES | NO |
| A. Identified load capacity |  |  |
| B. Overhead guards in place |  |  |
| C. Limit stops working effectively. |  |  |
| D. Special area for refueling and recharging batteries |  |  |
| IN-PLANT MATERIALS HANDLING | YES | NO |
| A. Dock boards available |  |  |
| B. Trailer truck wheel chocks available in receiving/shipping areas. |  |  |
| C. Pallets and skids in good repair. |  |  |
| INDUSTRIAL TRUCKS | YES | NO |
| A. All operators trained and licensed |  |  |
| B. Checklist for the start of the shift |  |  |
| C. Warning sounds if vehicle is driven backward with awkward or bulky loads |  |  |
| D. No riders |  |  |
| E. Key removed from truck when out of operation. |  |  |
| FALLS | YES | NO |
| A. Walkways, aisleways, clean and unobstructed |  |  |
| B. Stairs, ladders in good condition |  |  |
| C. Housekeeping Good? |  |  |
| LIGHTING | YES | NO |
| A. Illumination level sufficient for work performed |  |  |
| B. Emergency lighting adequate, operating |  |  |
| C. Emergency lighting of all exit routes |  |  |
| MACHINERY GUARDING | YES | NO |
| A. No bypassing or removing guards |  |  |
| B. Lock-out and tag-out procedure implemented |  |  |
| C. Personal protective equipment in use as needed |  |  |
| D. Mechanics properly trained. |  |  |
| LOCK-OUT/TAG-OUT SYSTEMS | YES | NO |
| A. Positive lock-out systems provided for all power equipment |  |  |
| B. Written work area policy signed by each person so trained |  |  |
| C. Personalized locks with individual keys provided to each mechanic or electrical specialist |  |  |
| D. Only authorized persons allowed to perform this procedure |  |  |
| E. Prominent tags indicate use of the lock-out system |  |  |
| F. Lock-out system will reduce power to zero energy state |  |  |
| NOISE CONTROL | YES | NO |
| A. Hearing protection provided where sound levels exceed standards |  |  |
| B. Employees wearing approved hearing protection that, if required, is properly inserted in the ear canal |  |  |
| FIRE PROTECTION | YES | NO |
| A. Written fire training plan developed with fire department |  |  |
| B. Sprinkler system maintained to NFPA 25 |  |  |
| C. Fire alarm test at least annually |  |  |
| D. Are flammable/combustible liquids adequately stored, dispensed and disposed. List type, quantities and use of such liquids in Comments section. |  |  |
| EXITS AND EMERGENCY PREPAREDNESS | YES | NO |
| A. Adequate number of exits for emergency escape |  |  |
| B. Emergency exits adequately illuminated |  |  |
| C. Exterior exit doors open outward to flat surface |  |  |
| D. Written and posted emergency evacuation plan with exit map for all areas |  |  |
| MOTOR VEHICLE | YES | NO |
| A. Written policy on vehicle use, attach copy |  |  |
| B. Assigned list of drivers on file with current MVRs, less than one year old |  |  |
| C. Accident report kit in vehicle |  |  |
| D. Established maintenance program |  |  |
| OFFICES | YES | NO |
| A. Rugs in halls or offices are free of holes, tears, and cannot skid |  |  |
| B. No electrical equipment cords stretched across walkways |  |  |
| C. Stairwells and exits are properly lighted |  |  |
| D. Light switch and cover plates in place |  |  |
| E. General housekeeping is good |  |  |
| F. No top-heavy filing cabinets (either loading or opening) |  |  |
| G. First aid facilities |  |  |
| Any unsafe practices observed: |  |  |
| SUMMARY |
| Inspector: |  |  |
| Date: |  |  |